Quality is Critical

M. VanderWerf

Nonin Medical, Inc., USA

As Clinical Telemedicine Matured in the early 2000s and volume implementation began, we saw a refocus on quality and less on technology. This refocus was critical to its success. The same is needed in Telehealth and Consumer health. Quality of care and the success of care services will more and more depend on the quality of measure, the reliability of technology and the quality of the services provided. I propose to present research in the quality of measurement and the importance of choosing the right medical device for the application.  It will include an overview of how to understand what the buyer should expect from a medical device, understanding the impact of regulatory claims, and understanding the difference of clinical performance.  I will also present 3rd part test results to showing differences in performance and how that might impact clinical quality. This will include a review of weight scales, Blood pressure devices pulse oximetry and others.